## Products
Part Number | Part Name | Part Indicator | Description | Portfolio | Product Brand | Product Series | Product Type | Government Funding | Status
760187989 |  | Variant | RBA84-36 GE 8RU 48/24V, HEX / Saft-DAC, Power & Battery Cabinet | [5 empty] | Discontinued
760251256 | CMC-74-36C | Variant | CMC-74 Equipment and Battery Cabinet NiCd, 3-String, 3 kW Air Conditioner, DC |  |  | CMC
760250933 | CMC- 36 Plinth | Variant | CMC 6” High Plinth, Cabinet Mounting Used with 36” Wide Cabinets.. |  |  | CMC
CMC8S |  | Base Product | Base 8RU (small footprint) Micro Outdoor Cabinet |  |  | CMC
CMC21 |  | Base Product | Base 21RU Micro Outdoor Cabinet
CMC28 |  | Base Product | Base 28RU Micro Outdoor Cabinet
CMC74-36C |  | Base Product | Base 74”, 4 Battery Shelf Outdoor Cabinet
CMC74-36B |  | Base Product | Base 74”, 4 Battery Shelf Outdoor Cabinet
CMC40 |  | Base Product | Base 24RU Equipment and Battery Micro Outdoor Cabinet |  |  | CMC
S8B1-P1-A00D00-00 | CMC8S | Variant of CMC8S | Empty CMC8S Passive Venting, Outdoor Battery Cabinet |  |  | CMC
S8B1-F1-A00D00-00 | CMC8S | Variant of CMC8S | Empty CMC8S 1x 800W Direct Air Cooling, Outdoor Battery Cabinet |  |  | CMC
S14B0-P1-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S Passive Venting Outdoor Equipment Cabinet |  |  | CMC
S14B0-D1-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 2x 300W HVAC w/ 600W Heater Outdoor Equipment Cabinet |  |  | CMC
CMC72-32B |  | Base Product | Base 72”, 5 Battery Shelf Outdoor Cabinet
S14B1-T3-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1000W Thermosiphon Outdoor Equipment & Battery Cabinet |  |  | CMC
S14B1-D8-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1x 300W HVAC w/ 300W Heater Outdoor Equipment & Battery Cabinet |  |  | CMC
S14B2-T3-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1000W Thermosiphon Outdoor Battery Cabinet |  |  | CMC
S14B2-P1-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S Passive Venting Outdoor Battery Cabinet |  |  | CMC
S14B2-D8-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1x 300W HVAC w/ 300W Heater Outdoor Battery Cabinet |  |  | CMC
S14B2-D9-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1x 500W HVAC w/ 500W Heater Outdoor Battery Cabinet |  |  | CMC
L8B0-D1-A00D00-00 | CMC8L | Variant of CMC8L | Empty CMC8L 2x 300W HVAC w/ 600W Heater Outdoor Equipment Cabinet |  |  | CMC
L8B1-P1-A00D00-00 | CMC8L | Variant of CMC8L | Empty CMC8L Passive Venting Outdoor Battery Cabinet |  |  | CMC
L8B1-D1-A00D00-00 | CMC8L | Variant of CMC8L | Empty CMC8L 2x 300W HVAC w/ 600W Heater Outdoor Battery Cabinet |  |  | CMC
21B1-D3-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 2000W HVAC, 14RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
21B1-T1-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 1500W Thermosiphon, 14RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
21B2-D3-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 2000W HVAC, 7RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
21B2-T1-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 1500W Thermosiphon, 7RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
21B2-P1-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 Passive Venting, 7RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
21B3-D3-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 2000W HVAC Outdoor Battery Cabinet |  |  | CMC
28B0-T1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 1500W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
28B0-D5-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3000W HVAC Outdoor Equipment Cabinet |  |  | CMC
28B1-D3-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 2000W HVAC 21RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
28B1-T1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 1500W Thermosiphon 21RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
28B1-T2-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3800W Thermosiphon 21RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
28B1-D5-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3000W HVAC 21RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
28B2-D3-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 2000W HVAC 14RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B2-D5-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3000W HVAC 14RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B3-P1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 Passive Venting 7RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B3-T1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 1500W Thermosiphon 7RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B4-T2-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3800W Thermosiphon Outdoor Battery Cabinet |  |  | CMC
28B4-P1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 Passive Venting Outdoor Battery Cabinet |  |  | CMC
35B0-P1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 Passive Venting Outdoor Equipment Cabinet |  |  | CMC
35B1-T1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 1500W Thermosiphon 28RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
35B1-P1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 Passive Venting 28RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
35B2-P1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 Passive Venting 21RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B2-D5-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3000W HVAC 21RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B2-T2-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3800W Thermosiphon 21RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B2-T1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 1500W Thermosiphon 21RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B3-D3-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 2000W HVAC 14RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B3-T1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 1500W Thermosiphon 14RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B4-D3-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 2000W HVAC 7RU Equipment Storage, 4x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B4-D5-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3000W HVAC 7RU Equipment Storage, 4x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B4-P1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 Passive Venting 7RU Equipment Storage, 4x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B5-D3-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 2000W HVAC Outdoor Battery Cabinet |  |  | CMC
35B5-T1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 1500W Thermosiphon Outdoor Battery Cabinet |  |  | CMC
35B5-T2-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3800W Thermosiphon Outdoor Battery Cabinet |  |  | CMC
35B5-D5-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3000W HVAC Outdoor Battery Cabinet |  |  | CMC
24B0-D3-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 2000W HVAC Outdoor Equipment Cabinet |  |  | CMC
24B0-T1-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 1500W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
24B0-P1-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 Passive Venting Outdoor Equipment Cabinet |  |  | CMC
74B0-D17-A00D00-00 | CMC74-36E | Variant of CMC74-36E | Empty CMC74-36E 4000W EVS HVAC w/ 500W Heater Outdoor Equipment Cabinet |  |  | CMC
74B0-T6-A00D00-00 | CMC74-36E | Variant of CMC74-36E | Empty CMC74-36E 3000W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
74B0-D23-A00D00-00 | CMC74-36E | Variant of CMC74-36E | Empty CMC74-36E 5000W EVS HVAC w/ 500W Heater Outdoor Equipment Cabinet |  |  | CMC
74B3-D20-A00D00-00 | CMC74-36C | Variant of CMC74-36C | CMC74-36C 3000W HVAC Outdoor Equipment & Battery Cabinet |  |  | CMC
74B3-T6-A00D00-00 | CMC74-36C | Variant of CMC74-36C | CMC74-36C 3000W Thermosiphon Outdoor Equipment & Battery Cabinet |  |  | CMC
85B3-D17-A00D00-00 | CMC85-36C | Variant of CMC85-36C | CMC85-36C 4000W EVS HVAC w/ 500W Heater Equipment & Battery Cabinet |  |  | CMC
85B3-T5-A00D00-00 | CMC85-36C | Variant of CMC85-36C | CMC85-36C 4200W Thermosiphon Equipment & Battery Cabinet |  |  | CMC
85B3-T6-A00D00-00 | CMC85-36C | Variant of CMC85-36C | CMC85-36C 3000W Thermosiphon Equipment & Battery Cabinet |  |  | CMC
72B5-P1-A00D00-00 | CMC72-32B | Variant of CMC72-32B | Empty CMC72-32B Passive Venting Outdoor Battery Cabinet |  |  | CMC
48B0-T1-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 1500W Thermosiphon Outdoor Multi-bay Cabinet |  |  | CMC
48B0-T2-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 3800W Thermosiphon Outdoor Multi-bay Cabinet |  |  | CMC
48B0-D5-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 3000W HVAC Outdoor Multi-bay Cabinet |  |  | CMC
48B0-P1-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 Passive Venting Outdoor Multi-bay Cabinet |  |  | CMC
48B2-T1-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 1500W Thermosiphon 64RU Equipment Storage, 2x Battery Shelves Outdoor Multi-bay Cabinet |  |  | CMC
48B2-T2-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 1500W Thermosiphon 64RU Equipment Storage, 2x Battery Shelves Outdoor Multi-bay Cabinet |  |  | CMC
48B2-D5-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 3000W HVAC 64RU Equipment Storage, 2x Battery Shelves Outdoor Multi-bay Cabinet |  |  | CMC
48B2-P1-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 Passive Venting 64RU Equipment Storage, 2x Battery Shelves Outdoor Multi-bay Cabinet |  |  | CMC
S40B2V-D5-A00D00-00 | CMC40 | Variant of CMC40 | Empty CMC40 3000W HVAC 24RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
S40B2V-P1-A00D00-00 | CMC40 | Variant of CMC40 | Empty CMC40 Passive Venting 24RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
CMC72-32C |  | Base Product | Base 72” Equipment and Battery Outdoor Cabinet
CMC74-36E |  | Base Product | CMC74-36E Outdoor Equipment Cabinet
CMC85-36C |  | Base Product | Base 85” Equipment and Battery Outdoor Cabinet
74B3V-P1-A00D00-00 | CMC74-36C | Variant of CMC74-36C | CMC74-36C VRLA Battery Cabinet 6-String, 1 kW HVAC with 500 W Heater, DC |  |  | CMC
72B3-T7-A00D00-00 | CMC72-32C | Variant of CMC72-32C | Empty CMC72-32C 4000W Heat Exchanger Outdoor Equipment & Battery Combo Cabinet |  |  | CMC
S14B0-T3-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1000W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
760133546 |  | Variant | RBA84-36 24V-Primary / 48V-Secondary Power & Battery Cabinet | [5 empty] | Discontinued
760251249 | CMC-74-36C | Variant | CMC-74 Equipment and Battery Cabinet VRLA, 3-String, 3 kW Air Conditioner, DC |  |  | CMC
S8B0-D8-A00D00-00 | CMC8S | Variant of CMC8S | Empty CMC8S 1x 300W HVAC, 1x 300W Heater, Outdoor Equipment Cabinet |  |  | CMC
CMC8L |  | Base Product | Base 8RU Micro Outdoor Cabinet
CMC14S |  | Base Product | Base 14RU (small footprint) Micro Outdoor Cabinet
CMC35 |  | Base Product | Base 35RU Micro Outdoor Cabinet
CMC24 |  | Base Product | Base 24RU Micro Outdoor Cabinet |  |  | CMC
CMW78 |  | Base Product | Base 3 Bay, 78” Equipment and Battery Outdoor Cabinet
CMW48 |  | Base Product | Base 48RU Micro Outdoor Cabinet |  |  | CMC
S8B0-D1-A00D00-00 | CMC8S | Variant of CMC8S | Empty CMC8S 2x 300W HVAC, 1x 600W Heater, Outdoor Equipment Cabinet |  |  | CMC
S8B0-F1-A00D00-00 | CMC8S | Variant of CMC8S | Empty CMC8S 1x 800W Direct Air Cooling, Outdoor Equipment Cabinet |  |  | CMC
S8B0-P1-A00D00-00 | CMC8S | Variant of CMC8S | Empty CMC8S Passive Venting, Outdoor Equipment Cabinet |  |  | CMC
S8B1-D1-A00D00-00 | CMC8S | Variant of CMC8S | Empty CMC8S 2x 300W HVAC, 1x 600W Heater, Outdoor Battery Cabinet |  |  | CMC
S8B1-D8-A00D00-00 | CMC8S | Variant of CMC8S | Empty CMC8S 1x 300W HVAC, 1x 300W Heater, Outdoor Battery Cabinet |  |  | CMC
S14B0-D8-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1x 300W HVAC w/ 300W Heater Outdoor Equipment Cabinet |  |  | CMC
S14B0-D9-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1x 500W HVAC w/ 500W Heater Outdoor Equipment Cabinet |  |  | CMC
S14B1-P1-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S Passive Venting Outdoor Equipment & Battery Cabinet |  |  | CMC
S14B1-D1-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 2x 300W HVAC w/ 600W Heater Outdoor Equipment & Battery Cabinet |  |  | CMC
S14B1-D9-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 1x 500W HVAC w/ 500W Heater Outdoor Equipment & Battery Cabinet |  |  | CMC
S14B2-D1-A00D00-00 | CMC14S | Variant of CMC14S | Empty CMC14S 2x 300W HVAC w/ 600W Heater Outdoor Battery Cabinet |  |  | CMC
L8B0-P1-A00D00-00 | CMC8L | Variant of CMC8L | Empty CMC8L Passive Venting Outdoor Equipment Cabinet |  |  | CMC
L8B0-D8-A00D00-00 | CMC8L | Variant of CMC8L | Empty CMC8L 300W HVAC w/ 300W Heater Heater Outdoor Equipment Cabinet |  |  | CMC
L8B1-D8-A00D00-00 | CMC8L | Variant of CMC8L | Empty CMC8L 300W HVAC w/ 300W Heater Heater Outdoor Battery Cabinet |  |  | CMC
21B0-D3-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 2000W HVAC Outdoor Equipment Cabinet |  |  | CMC
21B0-P1-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 2000W Passive Venting Outdoor Equipment Cabinet |  |  | CMC
21B1-P1-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 Passive Venting, 14RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
21B3-T1-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 1500W Thermosiphon Outdoor Battery Cabinet |  |  | CMC
21B3-P1-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 Passive Venting Outdoor Battery Cabinet |  |  | CMC
28B0-T2-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3800W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
28B0-P1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 Passive Venting Outdoor Equipment Cabinet |  |  | CMC
28B1-P1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 Passive Venting 21RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
28B2-T1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 1500W Thermosiphon 14RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B2-T2-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3800W Thermosiphon 14RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B2-P1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 Passive Venting 14RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B3-D5-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3000W HVAC 7RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B3-T2-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3800W Thermosiphon 7RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B3-D3-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 2000W HVAC 7RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
28B4-D3-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 2000W HVAC Outdoor Battery Cabinet |  |  | CMC
28B4-T1-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 1500W Thermosiphon Outdoor Battery Cabinet |  |  | CMC
28B4-D5-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 3000W HVAC Outdoor Battery Cabinet |  |  | CMC
35B0-D3-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 2000W HVAC Outdoor Equipment Cabinet |  |  | CMC
35B0-T1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 1500W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
35B0-T2-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3800W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
35B0-D5-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3000W HVAC Outdoor Equipment Cabinet |  |  | CMC
35B1-D3-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 2000W HVAC 28RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
35B1-T2-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3800W Thermosiphon 28RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
35B1-D5-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3000W HVAC 28RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
35B2-D3-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 2000W HVAC 21RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
21B0-T1-A00D00-00 | CMC21 | Variant of CMC21 | Empty CMC21 Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
28B0-D3-A00D00-00 | CMC28 | Variant of CMC28 | Empty CMC28 2000W HVAC Empty Outdoor Equipment Cabinet |  |  | CMC
35B3-T2-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3800W Thermosiphon 14RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B3-D5-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3000W HVAC 14RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B3-P1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 Passive Venting 14RU Equipment Storage, 3x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B4-T1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 1500W Thermosiphon 7RU Equipment Storage, 4x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B4-T2-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 3800W Thermosiphon 7RU Equipment Storage, 4x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC
35B5-P1-A00D00-00 | CMC35 | Variant of CMC35 | Empty CMC35 Passive Venting Outdoor Battery Cabinet |  |  | CMC
24B0-T2-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 3800W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
24B0-D5-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 3000W HVAC Outdoor Equipment Cabinet |  |  | CMC
24B1-D3-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 2000W HVAC 32RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
24B1-T1-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 1500W Thermosiphon 32RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
24B1-T2-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 3800W Thermosiphon 32RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
24B1-D5-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 3000W HVAC 32RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
24B1-P1-A00D00-00 | CMC24 | Variant of CMC24 | Empty CMC24 Passive Venting 32RU Equipment Storage, 1x Battery Shelf Outdoor Equipment & Battery Cabinet |  |  | CMC
74B0-D20-A00D00-00 | CMC74-36E | Variant of CMC74-36E | Empty CMC74-36E 3000W HVAC Outdoor Equipment Cabinet |  |  | CMC
74B0-T5-A00D00-00 | CMC74-36E | Variant of CMC74-36E | Empty CMC74-36E 4200W Thermosiphon Outdoor Equipment Cabinet |  |  | CMC
85B3-D20-A00D00-00 | CMC85-36C | Variant of CMC85-36C | CMC85-36C 3000W HVAC Equipment & Battery Cabinet |  |  | CMC
85B3-D23-A00D00-00 | CMC85-36C | Variant of CMC85-36C | CMC85-36C 5000W EVS HVAC w/ 500W Heater Equipment & Battery Cabinet |  |  | CMC
74B6-D16-A00D00-00 | CMC74-36B | Variant of CMC74-36B | CMC74-36B 1000W HVAC w/ 500W Heater Outdoor Battery Cabinet |  |  | CMC
74B6-D19-A00D00-00 | CMC74-36B | Variant of CMC74-36B | CMC74-36B 1000W Heater Outdoor Battery Cabinet |  |  | CMC
74B6-P1-A00D00-00 | CMC74-36B | Variant of CMC74-36B | CMC74-36B Passive Venting Outdoor Battery Cabinetnet |  |  | CMC
78W3-T8-A00D00-00 | CMW78 | Variant of CMW78 | CMW78 1x 4000W HEX and 2x 6000W HEXs Outdoor Multi-bay Cabinet |  |  | CMC
48B0-D3-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 2000W HVAC Outdoor Multi-bay Cabinet |  |  | CMC
48B2-D3-A00D00-00 | CMW48 | Variant of CMW48 | CMW48 2000W HVAC 64RU Equipment Storage, 2x Battery Shelves Outdoor Multi-bay Cabinet |  |  | CMC
S40B2V-T2-A00D00-00 | CMC40 | Variant of CMC40 | Empty CMC40 3800W Thermosiphon 24RU Equipment Storage, 2x Battery Shelves Outdoor Equipment & Battery Cabinet |  |  | CMC